Southwest Wyoming Mutual Aid Mine Rescue Contest

Rock Springs WY

June 10-12, 2014

MX6 iBrid Team Technician Test Answers

1. b) MSHA requires mine rescue stations serving underground M/NM mines to have four gas detectors appropriate for each gas which may be encountered at the mines served. MSHA Publication 3027, Page 2-3

2. a) In addition, gas detectors must measure concentrations of methane from 0.0 percent to 100 percent of volume, oxygen from 0.0 percent to at least 20 percent of volume, and carbon monoxide from 0.0 parts per million to at least 9,999 parts per million. MSHA Publication 3027, Page  2-3

3. b) The volume of a gas changes in response to any change in atmospheric pressure or temperature. For example: An increase in temperature causes a gas to expand. MSHA Publication 3027, Page 2-5

4. c) The specific gravity of normal air is 1.0

MSHA Publication 3027, Page 2-6

5. b) Sulfur dioxide, for example, has a specific gravity of 2.2638. MSHA Publication 3027, Page 2-6

6. d)  The explosive range of hydrogen, for example, is 4.0 to 74.2 percent in the presence of normal air.  MSHA Publication 3027, Page 2-7

7. b) In order to get the air to flow from the intake to the exhaust, the exhaust air must be at a lower pressure than the intake. MSHA Publication 3027, Page 3-5

8. a) Bulkheads are used to direct air to where it is needed and to keep intake air from short circuiting to the exhaust before it reaches the working area.  MSHA Publication 3027, Page 3-8

9. a) Check curtains are used to deflect the intake air current into a working

area. MSHA Publication 3027, Page 3-9

10. b) Any teams working beyond the established time period will be notified by the #1 Judge that they must leave the field. 2014 Metal/Non Metal Mine Rescue Rules Page 7

11. a) Silicone compound vapors or other known contaminants may affect the combustible gas sensor and cause readings of combustible gas

to be lower than actual gas concentrations. MX6 iBrid Operational Guide page 3

12. b) Oxygen deficient atmospheres may cause combustible gas readings to be lower than actual concentrations. MX6 iBrid Operational Guide page 3

13. b) Obstruction of the sensor openings or contamination of the water barriers may cause readings to be lower than actual gas concentrations. MX6 iBrid Operational Guide page 4

14. a) Industrial Scientific recommends the “2 & 2 Sampling Rule” when

sampling with a motorized pump and tubing, allow for 2 minutes plus

2 seconds per foot of tubing used, prior to noting the monitor readings.  MX6 iBrid Operational Guide page 4

15. b) The lithium-ion cells are not user-replaceable. MX6 iBrid Operational Guide page 5

16. c)  When calibrated using methane concentrations less than 5% of

volume, reading accuracy of the infrared methane sensor may not be guaranteedto be better than +/-20%. MX6 iBrid Operational Guide page 5

17. b) There are two levels of audio gas alarms based on

the frequency of the beeps and the length of delay between

beeps. Low-level (level-1): Low frequency beeps with a long delay. MX6 iBrid Operational Guide page 5

18. b) The instrument has alarm LEDs located beneath the opaque

sensor array at the top of the unit. MX6 iBrid Operational Guide page 6

19. c) Three different cradles are available for use with the MX6 multigas

monitor. MX6 iBrid Operational Guide page 6

20. b) The menu system consists of two different root menus. MX6 iBrid Operational Guide page 7

21. b) Fifteen alarm events for the instrument are recorded into a

FIFO queue in nonvolatile memory and are time stamped. MX6 iBrid Operational Guide page 7

22. b) Data logging is a feature that allows a variety of system

parameters to be recorded at regular intervals (and saved

internally) for retrieval (and viewing) at a later date. Data are saved in case of power loss. MX6 iBrid Operational Guide page 7,8

23. c) Bump testing checks for sensor and alarm functionality. . MX6 iBrid Operational Guide page 7,8

24. c) Zeroing sets each installed sensor to recognize the ambient air as clean

Air.  MX6 iBrid Operational Guide page 12

25. a) The MX6 multigas monitor (instrument) is powered by an alkaline or

rechargeable Lithium-ion (Li-ion) battery.  MX6 iBrid Operational Guide page 12

26. b) . ISC recommends that the monitor be fully charged using an ISC compatible charger or docking station; this may require up to eight hours.

MX6 iBrid Operational Guide page 13,14

27. b) The MX6 multigas monitor is a handheld, “dockable” instrument for personal protection with a five-way navigation button.  MX6 iBrid Operational Guide page 16

28. a) The sensor readings are displayed as solid black numerals during normal operation, and solid red numerals during alarm conditions.  MX6 iBrid Operational Guide page 17

29. d) . The operation-mode root menu is the entry point to any feature. It is activated from the gas-monitoring display screen and has three menu tabs.

MX6 iBrid Operational Guide page 20

30. b) Passwords are a minimum of three characters and a maximum of 10. MX6 iBrid Operational Guide page 26