Colorado Mine Rescue Contest

Golden, CO

May 20-22, 2014

MX6 iBrid Team Technician Test Answers

1. b) An decrease in pressure causes a gas to expand. MSHA Publication 3027, Page 2-5

2. d) The specific gravity of normal air is 1.0

MSHA Publication 3027, Page 2-6

3. c) Sulfur dioxide has a specific gravity of  2.2638.

MSHA Publication 3027, Page 2-6

4. b)  Oxygen is the second largest component of normal air.

MSHA Publication 3027, Page 2-14

5. c)  Carbon Monoxide is explosive and flammable. It’s explosive range in normal air is 12.5 to 74.2 percent. MSHA Publication 3027, Page2-16

6. a) For ventilation tubing can be either rigid (for exhausting systems) or collapsible (for forcing systems). MSHA Publication 3027, Page 3-10

7. b) Mine doors are always hung so that the ventilating air pressure will push them closed if they are accidentally left open. MSHA Publication 3027, Page 3-11

8. d) A medium-velocity (or “regular”) anemometer for measuring velocities from 120 to 2,000 feet per minute.   MSHA Publication 3027, Page 3-16

9. a)  When using a smoke tube the more accurate method of determining the air velocity is to take readings at quarter points within the airway. MSHA Publication 3027, Page 3-18

10. b) Medical Requirements Per 30 CFR Part 49, all mine rescue team members must have completed physical examinations in the past 12 months preceding the contest and are capable of performing strenuous work under oxygen. 2014 Metal/Non Metal Mine Rescue Rules Page 11

11. b) Explosion hazard. Only replace batteries in nonhazardous

locations. Alkaline battery pack is only approved for use with Duracell

MN 1500 or Rayovac LR6 batteries. MX6 iBrid Operation Guide Page 3

12. b) Oxygen enriched atmospheres may cause combustible gas readings to be higher than actual concentrations. . MX6 iBrid Operation Guide Page 3

13. b)  Sudden changes in atmospheric pressure may cause temporary

fluctuations in the oxygen reading.  MX6 iBrid Operation Guide Page 4

14. b) The use of leather cases can produce inaccurate

readings with diffusion (non-aspirated) gas detection instruments for

specific monitoring applications. MX6 iBrid Operation Guide Page 4

15. b)  The IR (infrared) methane sensor reading is not to be used for

methane concentrations below  5% in air.  MX6 iBrid Operation Guide Page 5

16. c) The recommended calibration gas for IR methane sensor calibration is 99% volume methane.  MX6 iBrid Operation Guide Page 5

17. a) There are two levels of audio gas alarms based on

the frequency of the beeps and the length of delay between

beeps. Low-level (level-1): Low frequency beeps with a long delay High-level (level-2): High frequency with short delay. MX6 iBrid Operation Guide Page 6

18. d) The LCD backlight flashes as part of all alarm sequences,

except for the battery low condition. The visual alarm is also

used as the confidence indicator which, when enabled, blinks

the LEDs once every 30 seconds. MX6 iBrid Operation Guide Page 6

19. c)  To power on the MX6 instrument, press and hold for at least 3 seconds. MX6 iBrid Operation Guide Page 15

20. c) To shut down the instrument, hold for more than two seconds. MX6 iBrid Operation Guide Page 16

21. b) Sensor types are displayed as solid black text during normal operation, and blinking black  text during alarm conditions. MX6 iBrid Operation Guide Page 17

22. c) Passwords are a minimum of three characters and a maximum of 10. MX6 iBrid Operation Guide Page 26

23. a)  Unless specified otherwise, configuration-mode display screens time out after 90 seconds. When activated, the main configuration screen remains on for

five minutes. MX6 iBrid Operation Guide Page 32

24. d) The user has 5 minutes to apply gas before the calibration times out. Gas should be applied at a flow rate of 0.5  lpm. MX6 iBrid Operation Guide Page 35

25. c) If the user selects “Start”, the bump test is started for this sensor. The sensor must reach a gas reading of 50% or greater (user selectable in configuration menu) of the applied gas (calibration) concentration within 60 seconds (user selectable in configuration menu) to pass.   MX6 iBrid Operation Guide Page 36

26. b) If the battery life remaining is less than one hour, the battery icon

flashes on the display and has an audible battery low alarm. MX6 iBrid Operation Guide Page 33

27. a) If there is a CO2 sensor present in the instrument, It is zeroed last. Zero air must be applied to zero a CO2 sensor. MX6 iBrid Operation Guide Page 34

28. a) Three different cradles are available for use with the MX6 multigas

monitor. MX6 iBrid Operation Guide Page 6

29. b) The individual alkaline batteries may be replaced in a gassy area. Do not

allow dust to enter the unit when replacing individual batteries.  MX6 iBrid Operation Guide Page 5

30. b) During calibration,once the sensor starts to read gas, the calibration begins. The user has 5 minutes to apply gas before the calibration times out. MX6 iBrid Operation Guide Page 35