Electrical Hazards Quiz

1.	Suitable warning notices (tags) must be posted at power switches and signed by individuals doing the work.

a.  True		b.  False

2.	You can have two keys with your personal lockout padlock?

a.  True		b.  False

3.	Locking out equipment is required only if the procedure takes more than 10 minutes.

a.  True		b.  False

4.	Inspection and cover plates on electrical equipment and junction boxes must be in place except when testing or making repairs.

a.  True		b.  False

5.	All start switches must be returned to the “neutral” or “off” position after checking that all energy has been released.

a.  True		b.  False

6.	It is OK to pull on a power cord in order to remove the plug from the wall outlet.

a.  True		b.  False

Signature _________________________ PR# _____________ Date ________________

Instructor ___________________________________