2013 Bg4 Test		ver.1

Put the correct answer on the blank beside the question.

Name___________________

Team___________________

1.  The over pressure valve opens > 15 mbar?					_____

A. True	B. False

2.  The steel cylinder is required to be hydro tested every 15 years ?		_____

3.  The dosage screw is located under the brass plug on the reducer ?		_____

A. True	B. False

4.  When the relief valve vents, it is on the input side of the scrubber ?		______

A. True 	B. False

5.  The minimum valve inserts 1.5 LPM into the breathing loop when activated?	______

A. True	B. False

6.  The exhalation valve test, _______ pressure is applied?				______

A. Positive	B. Negative

7.  Permissible impurities in depressurized gas, maximum water vapor		______

Concentration is _____.

A. 50mg/m2	B. 50mg/m3	C. 60 mg/m2	D. 60mg/m3

8.  A leak in the dosage line can cause low dosage?					______	A. True	B. False

9. A leak in the minimum valve line can cause a positive pressure leak test		______	to fail.

A. True	B. Fail

10. Low dosage can cause the high pressure leak test to fail.				______	A. True	B. Fail

11. Lubrication of o-rings on the Bg4, Loctite 111 is recommended?		______	A. True	B. False

12. Insert the speech diaphragm with the perforated section facing the		_____

Exterior of the mask?

A. True	B. False

13. High dosage can be caused by bypass system damage?				_____

A True		B. False

14. Use a ____mm wrench to remove the “T” connection on the reducer.		_____

15. The bypass plunger can be lubricated using Dow Corning 111?			_____

A True		B. False

16. Cleaning all parts, hot water with a mild detergent is recommended?		_____

A. True	B. False

17. The low pressure warning should be activated when the pressure is lower	_____

Than 700psi, when testing?

A. True	B. False

18. Maximum temperature while drying parts is 114 degrees Fahrenheit?		_____

19. Flow sounds should be audible when the drain valve is tested lower than	_____

10 mbar?

A. True	B. false

20. The range of the relief valve is between 2-5 bar?				_____

A. true	B. False

Bonus point:

21. After eating craw fish, it is more important to wash your hands, ____		____

Going to the bathroom?

A. Before	B. After

- B

- B

- B

- A

- B

- B

- B

- A

- A

- A

- B

- B

- A

- C

- B

- B

- B

- B

- B

- B

- A