Missouri Mine Rescue Contest

Rolla, MO

September 23-25, 2014

Technician Team (BioPak 240R)

- MSHA requires Periodic Maintenance should be performed at least ____ on Mine Rescue Breathing Apparatus.

- Daily

- Weekly

- Every 30 days

- Quarterly

- Carbon Fiber wrapped Oxygen cylinders must be hydrostatically tested every _________ .

- One Year

- Three Years

- Five Years

- Fifteen Years

- In a properly working positive pressure NIOSH/MSHA approved Closed Circuit breathing apparatus the pressure inside the breathing loop/circuit is:

- Lower than ambient

- The same as ambient

- The same as cylinder pressure

- Slightly higher than ambient

- If a slight leak occurs in the breathing loop/circuit or facemask seal, the user generally will:

- Hit the demand valve more often

- Reduce duration

- Increase oxygen consumption

- All of the Above

E. None of the above

- Turn-around Maintenance should be performed

- As soon as possible after each use

- On a monthly basis

- During periodic maintenance

- During long-term maintenance

- None of the Above

- There are various methods to eliminate or reduce mask fogging.  Which one is the least likely to work:

- Depress the Emergency By-Pass Valve

- Use an approved wiper

- Use an approved anti-fog spray or solution

- B & C

- The Check valves in mask/hose adapter perform a critical function.  Which of the following is not true:

- They control the directional flow of  inhalation and exhalation gasses

- They control the amount of oxygen being metered out from the oxygen cylinder

- The inhalation valve is closed during exhalation

- The exhalation valve is closed during inhalation

- When completing washing/disinfection during turn-around maintenance users may use any antibacterial cleaner they choose because

- Bleach works on any germ so I can use it

- Alcohol is used in hospitals so it works on my apparatus

- Any liquid detergent is OK since it won’t hurt my skin

- None of the above

- My Mine Rescue Closed Circuit Breathing Apparatus does not use AIR in the cylinder because:

- Air does not have any oxygen

- Air has too much CO2

- The manufacturer specifies Oxygen

- Air has 21% oxygen by volume, & for Closed-Circuit apparatus that is not enough

- Both C & D

- What will result in the BEST cooling of breathing gasses:

- Install the gel tube/ice canister just prior to donning

- Install the gel tube/ice canister during benching back at the rescue station

- Do not use the gel tube/ice canister at all.

- Use only partially frozen gel tube/ice canister

- When refilling your oxygen cylinder it is NOT acceptable to:

A.  Fill the cylinder to 4000 psig so I can get more than 4-hours

B.  Use lubricants such as Vaseline or petroleum jelly on the cylinder components

C.  Use welders grade Oxygen

D.  Use a booster pump in an area filled with hydrocarbons and open ignition sources

E.  All the above

- Under extremely heavy work conditions, if the user inhales and collapses the diaphragm as far as it can travel, it activates the

- By-Pass Valve

- Demand Valve

- Relief Valve

- Check Valve

- If the constant add or the demand valve fails in your apparatus, the user can still manually fill the breathing chamber by activating the

- Emergency By-Pass Valve

- Demand Valve

- Relief Valve

- Check Valve

- If the user exhales and the breathing diaphragm/breathing chamber fills to a specified capacity, the breathing chamber will cause the activation of the

- By-Pass Valve

- Demand Valve

- Relief/vent Valve

- Check Valve

- What specifically controls the directional flow of the breathing gasses:

- The hoses

- The mask

- The breathing bag or chamber

- The CO2 scrubber/absorber

- The check valves

- Typically a Closed Circuit Breathing Apparatus has:

- Cylinder or High pressure, regulated or reduced pressure, and breathing circuit or breathing loop pressure

- Only oxygen pressure

- Only Oxygen and CO2 pressure

- Only Mask pressure

- The function of the regulator is to:

- Increase cylinder pressure in the apparatus

- Moisture control

- Decrease cylinder pressure  in the apparatus plumbing and pneumatics

- A & C

- When my CO2 absorbent is used up, the material now becomes:

- Lithium Hydroxide

- Limestone (Calcium Carbonate)

- Lithium Carbonate

- Magnesium Hydroxide

- Calcium Hydroxide

- None of the above

- If you hear the Demand every time you inhale, and you are not working hard, you should:

- Use the Emergency By-Pass Valve

- Breathe slower

- Turn off the oxygen cylinder

- Check your facemask fit and adjust it for a better seal

- The purpose of the CO2 absorbent is to ensure:

- Carbon Monoxide is removed from the breathing gasses

- Carbon Dioxide is removed from the exhaled breathing gasses

- The correct amount of Oxygen is metered out

- The oxygen tastes good

- The smoke tube is used mainly to determine what direction very slow-moving oxygen is moving, and at what velocity.

A. True

B. False

22. __________ are devices used to control and adjust the quantity of airflow in the mine.

A. Anemometers

B. Auxiliary Fans

C. Regulators

D. None of the above

23. To obtain the “flow” of air through the mine there must be a difference in air quality

between the intake and exhaust airways.

A. True

B. False

24. If placards have not been changed after _______ seconds, teams must assume that

their actions were not successful.

A. 10

B. 20

C. 15

D. 30

25. No team member may advance more than (3) feet beyond the second (2nd)

intersection before tying across and/or behind into all unexplored areas that intersect.

A. True

B. False

26. The captain must verbally indicate to the judges each time initials and dates are

simulated.

A. True

B. False

27. Whether to use regulators to control the fire or to entirely seal the fire must be

decided by the __________.

A. Fresh Air Base Attendant

B. Mine Manager

C. Team

D. Command Center

28. The most dangerous aspect of methane is the fact that it is toxic.

A. True

B. False

29. Knowing the effects of air current, temperature, and pressure on a gas will help you

determine its rate of diffusion.

A. True

B. False

30. Your team will make frequent tests for gases as it advances beyond the portal.

A. True

B. False