Compressed Gas Safety Quiz #1

- Complete the following sentence.  A ruptured compressed gas cylinder ________.

|  | a. has the potential force of an anti-tank weapon or small missile. |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. can break through a concrete wall. |  |  |  |
|  | c. can release potentially harmful gases into the work area. |  |  |  |
|  | d. All of the above. |  |  |  |

- If there are no leaks present when using a compressed gas cylinder, there is no danger.

|  | a. True |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. False |  |  |  |

- Standard color codes can be used for proper identification of cylinder contents if the stenciled or stamped markings are illegible or the label tag is defaced.

|  | a. True |  | b. False |  |
| --- | --- | --- | --- | --- |

- You should know the specific hazards, special handling precautions, first-aid requirements and emergency response for any gas you are using.  This can be found on the _____________________.

|  | a. Material Safety Data Sheet (MSDS). |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. User manual. |  |  |  |
|  | c. Vendor manifest. |  |  |  |
|  | d. Regulator operating instructions. |  |  |  |

- To move a compressed gas cylinder properly:

|  | a. Remove protective valve cap, install regulator, and strap to hand cart. |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. Lift and carry using the protective valve cap. |  |  |  |
|  | c. Roll cylinders to hand cart and fasten to cart with chain or strap around bottom 1/3 of cylinders. |  |  |  |
|  | d. Place cylinders on hand cart individually and secure by fastening chain or strap around upper 1/3 of cylinders. |  |  |  |

- A cylinder is considered to be safely empty once it no longer contains any gas.

|  | a. True |  | b. False |  |
| --- | --- | --- | --- | --- |

- If a regulator does not properly attach to a valve fitting, ______________.

|  | a. attempt to modify the ends using your own adaptor. |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. add a small amount of grease to inside of threads and try again. |  |  |  |
|  | c. check for leaks using soap and water mixture. |  |  |  |
|  | d. double check for compatibility. |  |  |  |

- Empty cylinders of flammable gas can be stored next to empty containers of corrosive gas as long as they are all empty.

|  | a. True |  | b. False |  |
| --- | --- | --- | --- | --- |

- Compressed gas cylinders can be stored in any position as long as they are secured in place.

|  | a. True |  | b. False |  |
| --- | --- | --- | --- | --- |

- Oxygen must be stored at least ____ feet or separated by a non-combustible 5-foot high barrier from any flammable gas containers and combustibles.

|  | a. 10 |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. 15 |  |  |  |
|  | c. 20 |  |  |  |
|  | d. 25 |  |  |  |

# Signature ________________________________ PR # _____________ Date ______________________

Instructor _________________________________