Fire Prevention Quiz

- What is the best defense against fire?

|  | a. Fire extinguishers. |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. Evacuation plans. |  |  |  |
|  | c. Fire alarms. |  |  |  |
|  | d. Prevention. |  |  |  |

- Class A combustible materials are:

|  | a. Wood, cloth, paper, rubber, and plastic. |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. Electricity. |  |  |  |
|  | c. Flammable liquids, gases, and greases. |  |  |  |
|  | d. Combustible metals. |  |  |  |

- When using a fire extinguisher, which of the following is incorrect?

|  | a. Pull the pin and stand back 8 to 10 feet. |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. Aim at the upper part of the flames. |  |  |  |
|  | c. Squeeze the handle. |  |  |  |
|  | d. None of the above. |  |  |  |

- The basic objective of fire protection is to prevent personal injury and loss of life.

|  | a. True |  | b. False |  |
| --- | --- | --- | --- | --- |

- To avoid fires resulting from ignition of compressed gases:

|  | a. Store all cylinders upright and secured to walls. |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. Never drag a compressed gas cylinder. |  |  |  |
|  | c. Modify or change pressure relief devices as needed. |  |  |  |
|  | d. Both a. and b. |  |  |  |

- Poor housekeeping and piles of debris can be a fire hazard because they can clutter the path during an emergency escape or contain oil-soaked rags or other combustible items.

|  | a. True |  | b. False |  |
| --- | --- | --- | --- | --- |

- Class B combustible materials are flammable liquids, gases, and greases.

|  | a. True |  | b. False |  |
| --- | --- | --- | --- | --- |

- If you are trained to use portable fire extinguishers, some things you should know include:

|  | a. The types of fires they are meant to extinguish. |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. Strategies for using fire extinguishers. |  |  |  |
|  | c. The location of the fire extinguishers. |  |  |  |
|  | d. All of the above. |  |  |  |

- Which of the following types of packaging are combustible?

|  | a. Cardboard. |  |  |  |
| --- | --- | --- | --- | --- |
|  | b. Foam composition. |  |  |  |
|  | c. Paper. |  |  |  |
|  | d. All of the above. |  |  |  |

# Signature ______________________________ PR# ____________ Date _________________________

Instructor _________________________________