Electrical Hazards Quiz

1. The following is not a good conductor:

  - Copper

  - Aluminum

  - Gum rubber

  - Water

- Contact with electricity can cause:

  - Death

  - Burns

  - Muscle contractions

  - All of the above

- Before attempting to extinguish an electrical fire, it is best to:

  - Notify MSHA

  - Cut the power

  - Use water hoses

  - Find a good class A extinguisher

- Electrocution can occur with currents as small as

  - 5mA

  - 75mA

  - 1  Amp

  - 10 Amps

- 110 volts is less deadly than 480 volts

  - True

  - False

- One of the biggest hazards of working with car batteries is:

  - Electrocution

  - Chemical burns

  - Explosion

  - Both b and c

- Which would have the lowest resistance:

  - A large diameter copper wire

  - A small diameter copper wire

  - A small diameter aluminum wire

  - A pencil lead

- The ground prong on a drop cord is designed to:

  - Save people

  - Reduce resistance

  - Improve voltage

  - Increase amperage

- Electrical lockouts must be made by:

  - Each person working on the machine

  - Foremen only

  - Electricians only

  - Locksmiths

- Welding machines cannot cause electrocution

  - True

  - False

- Never grab a cable:

  - If it is smoking

  - At a splice

  - Where insulation is damaged

  - All of the above

- Current overload protection is provided by:

  - Fuses

  - Transformers

  - Circuit breakers

  - Both a and c

- If you forget to lock out a machine before working on it:

  - It is okay as long as your partner did

  - You may die

  - You may not go home with all your body parts

  - Both b and c

- If a crane comes in contact with high voltage powerlines, you should:

  - Jump off the crane only if the crane catches fire and shuffle away.

  - If near the crane, remain where you are without moving until the power is cut

  - Run away

  - Lower the crane boom if you are already on the crane

- Driving over drop cords is okay if you:

  - bridge the cord

  - cut the power

  - have bias-ply tires

  - bury the cord

- When pulling disconnect switches, you should:

  - Wear rubber boots

  - Stand on steel plates

  - Stand to the side of the switch

  - Use hot line tools

- The larger the rating (number) of the fuse, the more current it can handle.

  - True

  - False

- Transformer enclosures must be:

  - At least 6 feet high

  - Below ground level

  - Locked

  - Painted grey

- Except for battery-operated equipment, all metal enclosing electrical circuits must be:

  - Copper

  - Grounded

  - Labeled

  - Guarded

- Larger motors need larger wires because:

  - They need more current

  - They need more voltage

  - They have lower resistance

  - They have smaller conductors

- Truck tires are good insulators

  - True

  - False

- Lightning will not strike rubber-tired equipment

  - true

  - false

- Which should you avoid during an electrical storm?

  - Plumbing fixtures

  - Standing near windows

  - Trees or fences

  - Standing near heavy equipment

  - All of the above

- Power switches must be labeled unless obvious by location. T__, F__

- Electrical lights that by their location present a shock or burn hazard have to be guarded. T__, F__

- Cover plates be removed from electrical equipment: a) when testing them, b) when repairing them, c) whenever the lights are on.

- If you found the grounding plug had been broken off of an electric drill, what should you do?

  - Leave it alone

  - Tag it out

  - Use it only with a GFCI

  - Wear linesman’s gloves when using it

- You cannot be electrocuted if you use a GFCI.

  - True

  - False

- All electrically powered equipment must have:

  - An on-off switch

  - A UL rating

  - A frame ground

  - Labels

- Electric arc welding in the rain is okay if:

  - Low settings are used

  - Wearing appropriate PPE

  - You are a certified welder

  - Never, unless you have a death wish

- A missing knock-out plug on a live electrical box results in:

  - A non-S&S citation

  - An S&S citation

  - Nothing

  - Better air circulation

Electrical Hazards Quiz - Answers

1. The following is not a good conductor:

c.    Gum rubber

- Contact with electricity can cause:

d.    All of the above

- Before attempting to extinguish an electrical fire, it is best to:

b.    Cut the power

- Electrocution can occur with currents as small as

  - 75mA

- 110 volts is less deadly than 480 volts

  - True

- One of the biggest hazards of working with car batteries is:

d.    Both b and c

- Which would have the lowest resistance:

  - A large diameter copper wire

- The ground prong on a drop cord is designed to:

  - Save people

- Electrical lockouts must be made by:

c.   Electricians only

- Welding machines cannot cause electrocution

b.   False

- Never grab a cable:

d.    All of the above

- Current overload protection is provided by:

d.   Both a and c

- If you forget to lock out a machine before working on it:

d.   Both b and c

- If a crane comes in contact with high voltage powerlines, you should:

  - Jump off the crane only if the crane catches fire and shuffle away.

  - If near the crane, remain where you are without moving until the power is cut

  - Lower the crane boom if you are already on the crane

- Driving over drop cords is okay if you:

  - bridge the cord

d.   bury the cord

- When pulling disconnect switches, you should:

  - Wear rubber boots

c.    Stand to the side of the switch

- The larger the rating (number) of the fuse, the more current it can handle.

  - True

- Transformer enclosures must be:

c.    Locked

- Except for battery-operated equipment, all metal enclosing electrical circuits must be:

b.    Grounded

- Larger motors need larger wires because:

  - They need more current

- Truck tires are good insulators

b.   False

- Lightning will not strike rubber-tired equipment

b.   false

- Which should you avoid during an electrical storm?

e.   All of the above

- Power switches must be labeled unless obvious by location. T__, F__

- Electrical lights that by their location present a shock or burn hazard have to be guarded. T__, F__

- Cover plates be removed from electrical equipment: a) when testing them, b) when repairing them, c) whenever the lights are on.

- If you found the grounding plug had been broken off of an electric drill, what should you do?

b.   Tag it out

- You cannot be electrocuted if you use a GFCI.

b.   False

- All electrically powered equipment must have:

  - An on-off switch

- Electric arc welding in the rain is okay if:

d.   Never, unless you have a death wish

- A missing knock-out plug on a live electrical box results in:

b.   An S&S citation