Spill Response Plan

(SRP)

Project Name:

Permit Number:____________________________________________ General Contractors Name:

Site Superintendent’s Name and phone number:

___________________________________________________________

Below is the general procedure to follow in the event of a spill or loss of product that results in an impact or potential impact to soil, surface water, groundwater or sanitary sewer system.

Notifications:

- 911 (if immediate danger to life or health)

- DFW Airport Operations Center (AOC) at (972) 973-3112 for all spills no matter what the quantity.

- General Contractor Site Superintendent.

- Environmental Emergency Response Contractor (if necessary).

- For spills that exceed the reportable quantity established per federal and state regulations, also contact the Texas Commission on Environmental Quality (TCEQ) at 800-832-8224 and the National Response Center at 800-424-8802.

- DFW Board project or construction manager or tenant coordinator.

Cleanup:

- Impacted soil or used absorbent material shall be picked up and stored in a waterproof, leak proof manner such as on plastic sheeting and covered with plastic sheeting, a drum or roll-off container with a lid or cover that can be secured, or a 5-gallon bucket with a secure lid.

- The Site Superintendent or Emergency Response Coordinator will work with DFW Airport Environmental Affairs Department (EAD) to determine the appropriate sampling and disposal protocols for handling impacted soils, absorbent materials, or water.

- Coordinate all activities involving sampling and disposal of impacted media with EAD.  Provide proof of sampling and disposal such as laboratory analytical reports and waste manifests.

Follow-up:

- Within 48 hours send a written report to EAD describing the cause of the release, the total quantity of material discharged, description of corrective action taken or still in progress to be completed, notifications made, and plans for preventing recurrence.

- Complete any follow-up reports required by the TCEQ or National Response Center within the allowable time frames.  Provide copies of all reports to EAD.

- Submit a copy of documentation of disposal to EAD, i.e. US EPA uniform hazardous waste manifest generator’s initial copy or trucking trip ticket(s) with disposal receipt to EAD at the time of disposal.  Also submit a copy of the final uniform hazardous waste manifest “designated facility to generator copy” by the time of environmental closeout.

Project Description:

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

List of Spillable Materials on site:  (this includes fluids from heavy equipment, applied materials such as paint, stored chemicals, adhesives, granular materials, admixes…)

| Material (i.e. diesel fuel, paint, hydraulic fluid) | Estimated quantity | Storage location (Where is it kept? i.e. excavator, drum, 5-gallon bucket) |
| --- | --- | --- |

Fueling:

Will fueling or vehicles or equipment be done on site?_____________________________

If yes, please explain method, location, preventative measures that will be taken to prevent spills or overfills, and cleanup procedures in the event of a spill or overfill.

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Prevention:

The contractor will employ the following policies and procedures during construction activities to prevent the occurrence of spills at the job site:

- Properly train on-site employees of spill awareness and prevention

- Transfer liquids between containers only over paved areas and away from any storm drains, creeks, channels or other surface water bodies.

- Provide details on spill prevention specifically related to refueling activities

Preparedness:

The contractor will provide the following spill response equipment and supplies to be maintained on site for use in the event of a spill:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Prepared by:

Printed Name

Signature

Company

Date